## Solar Load Analysis
ENERGYBAE — SOLAR LOAD CALCULATOR REPORT
Consumer: RANJANA MADHUS HAM KHOBRA GADE ¦ Bill: 30-01-2026
SECTION 1 — CONSUMER DETAILS
Consumer Name | RANJANA MADHUS HAM KHOBRA GADE | Consumer Number | 439322232375
Billing Unit | BBL | Tariff Code | 1.00
Meter Number | 18429 | Reading Group | E2
Sanctioned Load(kW) | 100 | Security Deposit | 0
Bill Date | 30-01-2026 | Due Date | 06-12-2025
Bill Month | 30-01-2026 | Total Bill (Rs.) | 3440
SECTION 2 — METER READING
Current Reading | 137 | Previous Reading | 137 | Units Consumed | 0
SECTION 3 — 12-MONTH HISTORY
Month | Units | Month | Units | Month | Units
Feb-2025 | 0 | Mar-2025 | 0 | Apr-2025 | 137
May-2025 | 0 | Jun-2025 | 0 | Jul-2025 | 0
Aug-2025 | 0 | Sep-2025 | 0 | Oct-2025 | 0
Nov-2025 | 123 | Dec-2025 | 0 | Jan-2026 | 0
SECTION 4 — SOLAR RECOMMENDATION
Avg Monthly Units (kWh) |  |  | 130
Avg Daily Consumption (kWh/day) |  |  | 4.33
Recommended Solar Capacity (kW) |  |  | 1.2
Panel Wattage Assumed |  |  | 450W Mono PERC
No. of Panels Required |  |  | 3
Total Installed Capacity (kW) |  |  | 1.35
System Type |  |  | On-Grid
Est. Annual Savings (Rs.) |  |  | Rs.11,700
Payback Period |  |  | 6.9 yrs
CO2 Offset/Year (kg) |  |  | 1279
www.energybae.in ¦ energybae.co@gmail.com ¦ +91 9112233120