## Solar Load Analysis
ENERGYBAE — SOLAR LOAD CALCULATOR REPORT
Consumer: SHRI MADHUSHAH ROOPCHAND KHOBRADE ¦ Bill: Mahaani
SECTION 1 — CONSUMER DETAILS
Consumer Name | SHRI MADHUSHAH ROOPCHAND KHOBRADE | Consumer Number | 439320095567
Billing Unit | MahaGupta | Tariff Code | Standard UODI
Meter Number | 43932 | Reading Group | BB
Sanctioned Load(kW) | 1460 | Security Deposit | 0
Bill Date | 30-01-2026 | Due Date | 10-02-2026
Bill Month | Mahaani | Total Bill (Rs.) | 1460
SECTION 2 — METER READING
Current Reading | 0 | Previous Reading | 0 | Units Consumed | 0
SECTION 3 — 12-MONTH HISTORY
Month | Units | Month | Units | Month | Units
Feb-2025 | 0 | Mar-2025 | 1460 | Apr-2025 | 1460
May-2025 | 1470 | Jun-2025 | 0 | Jul-2025 | 0
Aug-2025 | 0 | Sep-2025 | 0 | Oct-2025 | 0
Nov-2025 | 0 | Dec-2025 | 0 | Jan-2026 | 0
SECTION 4 — SOLAR RECOMMENDATION
Avg Monthly Units (kWh) |  |  | 1463.3
Avg Daily Consumption (kWh/day) |  |  | 48.78
Recommended Solar Capacity (kW) |  |  | 13.55
Panel Wattage Assumed |  |  | 450W Mono PERC
No. of Panels Required |  |  | 30
Total Installed Capacity (kW) |  |  | 13.5
System Type |  |  | On-Grid
Est. Annual Savings (Rs.) |  |  | Rs.131,700
Payback Period |  |  | 6.2 yrs
CO2 Offset/Year (kg) |  |  | 14399
www.energybae.in ¦ energybae.co@gmail.com ¦ +91 9112233120